## 019G-Kerr
May | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 019 - KERRIGAN
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3 | [6 empty] | 2023-05-08
4 | [6 empty] | 2023-05-07 18:19 | 5:41
5
6
7 | 35.08 | 1 | 2.45 | 7 |  | Rain, Overflow Duration = 5.67 hours | 2023-05-08 03:06
8 | 1.09 |  | 0.12 | 5 |  | Rain, Overflow Duration = 3.10 hours | 2023-05-08 | 3:06
9 |  |  |  |  | 1
10
11 |  |  |  |  | 1 |  | 2023-05-15 06:04
12 |  |  |  |  | 1 |  | 2023-05-15 04:05 | 1:58
13 |  |  |  |  | 1
14 |  |  |  |  | 1
15 | 4.84 | 1 | 0.48 | 2 |  | Rain, Overflow Duration = 1.97 hours | 2023-05-20 13:02
16 |  |  |  |  | 1 |  | 2023-05-20 11:39 | 1:23
17
18
19
20 | 6 | 1 | 0.59 | 6 |  | Rain, Overflow Duration = 1.38 hours
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 47.01 | 3 | 3.64 | 20 | 6
AVG | 11.7525 | 1 | 0.91 | 5 | 1
MAX | 35.08 | 1 | 2.45 | 7 | 1
MIN | 1.09 | 1 | 0.12 | 2 | 1
COUNT | 4 | 3 | 4 | 4 | 6
Enter in new months and dates.
| 2023-05-01 | 2023-06-10
2023-05-31
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR 019G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 019 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04) | EJM
KERRIGAN AT MI 190.4 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-05-01 | TO | 2023-05-31
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 20 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. | [8 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** | hr |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 3.64 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 11.7525 | 35.08 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 9 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 3 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-06-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 023G-B&C
May | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 023 - BENEDICT & CRUTCHER
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5 |  |  |  |  | 1
6
7 | 1.859 | 1 | 1.52 | 6 |  | Rain, Overflow Duration = 4.58 hours
8 | 0.001 |  | 0.17 | 4 |  | Rain, Overflow Duration = 0.33 hours
9 |  |  |  |  | 1
10
11 |  |  |  |  | 1
12 | 0.001 | 1 | 0.55 | 8 |  | Rain, Overflow Duration = 0.25 hours
13 |  |  |  |  | 1
14 |  |  |  |  | 1
15 | 0.094 | 1 | 0.46 | 2 |  | Rain, Overflow Duration = 1.33 hours
16 |  |  |  |  | 1
17
18
19
20 | 0.002 | 1 | 0.4 | 6 |  | Rain, Overflow Duration = 1.25 hours
21
22
23
24 |  |  |  |  | 1
25
26
27 |  |  |  |  | 1
28
29
30
31 |  |  |  |  | 1
TOTAL | 1.957 | 4 | 3.1 | 26 | 9
AVG | 0.3914 | 1 | 0.62 | 5.2 | 1
MAX | 1.859 | 1 | 1.52 | 8 | 1
MIN | 0.001 | 1 | 0.17 | 2 | 1
COUNT | 5 | 4 | 5 | 5 | 9
Enter in new months and dates.
| 2023-05-01 | 2023-06-10
2023-05-31
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-023G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 023 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04)
BENEDICT & CRUTCHER 191.6 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-05-01 | TO | 2023-05-31
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 26 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 3.1 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 0.3914 | 1.859 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 13 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 4 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-06-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 024G-Wash
May | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 024 - WASHINGTON DC
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2 | [6 empty] | 2023-05-07 21:43
3 | [6 empty] | 2023-05-07 21:40 | 0:03
4
5 |  |  |  |  | 1 |  | 2023-05-07 21:24
6 | [6 empty] | 2023-05-07 20:18 | 1:06
7 | 5.31 | 1 | 2.16 | 6 |  | Rain, Overflow Duration = 2.20 hours
8 |  |  | 0.17 | 6 |  |  | 2023-05-07 19:51
9 |  |  |  |  | 1 |  | 2023-05-07 19:08 | 0:44
10
11 |  |  |  |  | 1 |  | 2023-05-07 19:07
12 |  |  |  |  | 1 |  | 2023-05-07 18:47 | 0:20
13 |  |  |  |  | 1
14 |  |  |  |  | 1 |  |  | 2:12
15 |  |  |  |  | 1
16 |  |  |  |  | 1
17
18
19
20 |  |  |  |  | 1
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 5.31 | 1 | 2.33 | 12
AVG | 5.31 | 1 | 1.165
MAX | 5.31 | 1 | 2.16
MIN | 5.31 | 1 | 0.17
COUNT | 1 | 1 | 2 | 2 | 9
Enter in new months and dates.
| 2023-05-01 | 2023-06-10
2023-05-31
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-024G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 024G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04) | EMH
WASHINGTON MI 190.4 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-05-01 | TO | 2023-05-31
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 12 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 2.33 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 5.31 | 5.31 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 10 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 1 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-06-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 033G-Schrad
May | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 033 - SCHRADER LANE
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5 |  |  |  |  | 1
6
7 | 3.251 | 1 | 1.9 | 7 |  | Rain, Overflow Duration = 2.83 hours
8 |  |  | 0.16 | 5
9 |  |  |  |  | 1
10
11 |  |  |  |  | 1
12 |  |  |  |  | 1
13 |  |  |  |  | 1
14 | 0.011 | 1 | 0.15 | 4 |  | Rain, Overflow Duration = 0.25 hours
15 | 0.463 | 1 | 0.62 | 2 |  | Rain, Overflow Duration = 0.75 hours
16
17
18
19
20 |  |  |  |  | 1
21
22
23
24
25
26
27
28
29
30
31 |  |  |  |  | 1
TOTAL | 3.725 | 3 | 2.83 | 18 | 7
AVG | 1.2417 | 1 | 0.7075 | 4.5 | 1
MAX | 3.251 | 1 | 1.9 | 7 | 1
MIN | 0.011 | 1 | 0.15 | 2 | 1
COUNT | 3 | 3 | 4 | 4 | 7
Enter in new months and dates.
| 2023-05-01 | 2023-06-10
2023-05-31
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-033G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 033 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04) | EMH
SCHRADER LN MI 184.7 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-05-01 | TO | 2023-05-31
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 18 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 2.83 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 1.2417 | 3.251 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 10 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 3 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-06-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 035G-Drift
May | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 035 - DRIFTWOOD
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5
6
7 |  |  |  |  | 1
8 |  |  |  |  | 1
9 |  |  |  |  | 1
10
11 |  |  |  |  | 1
12 |  |  |  |  | 1
13 |  |  |  |  | 1
14 |  |  |  |  | 1
15 |  |  |  |  | 1 | NO DISCHARGE FOR THIS SITE FOR THIS MONTH
16 |  |  |  |  | 1
17
18
19
20 |  |  |  |  | 1
21
22
23
24
25
26
27
28
29
30
31 |  |  |  |  | 1
TOTAL | 0 | 0 | 0 | 0 | 11
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1
MAX | 0 | 0 | 0 | 0 | 1
MIN | 0 | 0 | 0 | 0 | 1
COUNT | 0 | 0 | 0 | 0 | 11
Enter in new months and dates.
| 2023-05-01 | 2023-06-10
2023-05-31
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-035G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 035 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04)
DRIFTWOOD MI 192.0 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ X ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-05-01 | TO | 2023-05-31
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 0 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 0 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | #DIV/0! | 0 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 11 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 0 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-06-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 047G-Bosc
May | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 047 - BOSCOBEL
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5 |  |  |  |  | 1
6
7 | 0.081 | 1 | 2.16 | 6 |  | Rain, Overflow Duration = 0.92 hours
8 |  |  | 0.17 | 6
9 |  |  |  |  | 1
10
11 |  |  |  |  | 1
12 |  |  |  |  | 1
13 |  |  |  |  | 1
14 | 0.001 | 1 | 0.12 | 3 |  | Rain, Overflow Duration = 0.08 hours
15 | 0.001 | 1 | 0.38 | 2 |  | Rain, Overflow Duration = 0.08 hours
16 |  |  |  |  | 1
17
18
19
20 |  |  |  |  | 1
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0.083 | 3 | 2.83 | 17 | 7
AVG | 0.027667 | 1 | 0.7075 | 4.25 | 1
MAX | 0.081 | 1 | 2.16 | 6 | 1
MIN | 0.001 | 1 | 0.12 | 2 | 1
COUNT | 3 | 3 | 4 | 4 | 7
Enter in new months and dates.
| 2023-05-01 | 2023-06-10
2023-05-31
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-047G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 047 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04)
BOSCOBEL MI 192.6 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-05-01 | TO | 2023-05-31
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 17 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 2.83 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 0.027667 | 0.081 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 10 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 3 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-06-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1