## 019G-Kerr
Nov | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 019 - KERRIGAN
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3 | [6 empty] | 2023-11-21 08:22
4 | [6 empty] | 2023-11-21 01:03 | 7:19
5
6
7
8
9 |  |  |  |  | 1
10 |  |  |  |  | 1
11
12
13
14
15
16
17
18
19
20 |  |  | 0.37 | 5
21 | 19.92 | 1 | 1.34 | 10 |  | Rain, Overflow Duration = 7.32 hours
22 |  |  |  |  | 1
23
24
25
26 |  |  |  |  | 1
27
28
29
30 |  |  |  |  | 1
TOTAL | 19.92 | 1 | 1.71 | 15 | 5
AVG | 19.92 | 1 | 0.855 | 7.5 | 1
MAX | 19.92 | 1 | 1.34 | 10 | 1
MIN | 19.92 | 1 | 0.37 | 5 | 1
COUNT | 1 | 1 | 2 | 2 | 5
Enter in new months and dates.
| 2023-11-01 | 2023-12-10
2023-11-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR 019G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 019 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04) | EJM
KERRIGAN AT MI 190.4 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-11-01 | TO | 2023-11-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 15 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. | [8 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** | hr |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 1.71 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 19.92 | 19.92 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 6 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 1 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-12-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 023G-B&C
Nov | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 023 - BENEDICT & CRUTCHER
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5
6
7
8
9 |  |  |  |  | 1
10 |  |  |  |  | 1
11
12
13
14
15
16
17 |  |  |  |  | 1
18
19
20 | 0 | 1 | 0.32 | 5 |  | Rain, Overflow Duration = 0.25 hours
21 | 0.027 |  | 1.27 | 10 |  | Rain, Overflow Duration = 3.75 hours
22 |  |  |  |  | 1
23
24
25
26 |  |  |  |  | 1
27
28
29
30 |  |  | 0.1 | 3
TOTAL | 0.027 | 1 | 1.69 | 18 | 5
AVG | 0.0135 | 1 | 0.56333 | 6 | 1
MAX | 0.027 | 1 | 1.27 | 10 | 1
MIN | 0 | 1 | 0.1 | 3 | 1
COUNT | 2 | 1 | 3 | 3 | 5
Enter in new months and dates.
| 2023-11-01 | 2023-12-10
2023-11-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-023G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 023 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04)
BENEDICT & CRUTCHER 191.6 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-11-01 | TO | 2023-11-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 18 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 1.69 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 0.0135 | 0.027 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 6 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 1 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-12-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 024G-Wash
Nov | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 024 - WASHINGTON DC
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2 | [6 empty] | 2023-11-21 03:51
3 | [6 empty] | 2023-11-21 02:58 | 0:53
4
5
6
7
8
9 |  |  |  |  | 1
10 |  |  |  |  | 1
11
12
13
14
15
16
17 |  |  |  |  | 1
18
19
20 |  |  | 0.33 | 5
21 | 0.94 | 1 | 1.17 | 8 |  | Rain, Overflow Duration = 0.88 hours
22 |  |  |  |  | 1
23
24
25
26 |  |  |  |  | 1
27
28
29
30 |  |  |  |  | 1
TOTAL | 0.94 | 1 | 1.5 | 13 | 6
AVG | 0.94 | 1 | 0.75 | 6.5 | 1
MAX | 0.94 | 1 | 1.17 | 8 | 1
MIN | 0.94 | 1 | 0.33 | 5 | 1
COUNT | 1 | 1 | 2 | 2 | 6
Enter in new months and dates.
| 2023-11-01 | 2023-12-10
2023-11-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-024G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 024G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04) | EMH
WASHINGTON MI 190.4 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-11-01 | TO | 2023-11-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 13 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 1.5 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 0.94 | 0.94 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 7 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 1 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-12-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 033G-Schrad
Nov | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 033 - SCHRADER LANE
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5
6
7
8
9 |  |  |  |  | 1
10 |  |  |  |  | 1
11
12
13
14
15 |  |  |  |  | 1
16
17 |  |  |  |  | 1
18
19
20 |  |  | 0.43 | 5
21 | 0.279 | 1 | 1.25 | 10 |  | Rain, Overflow Duration = 2.42 hours
22 |  |  | 0.02 | 2
23
24
25
26 |  |  |  |  | 1
27
28
29
30 |  |  |  |  | 1
TOTAL | 0.279 | 1 | 1.7 | 17 | 6
AVG | 0.279 | 1 | 0.56667 | 5.6667 | 1
MAX | 0.279 | 1 | 1.25 | 10 | 1
MIN | 0.279 | 1 | 0.02 | 2 | 1
COUNT | 1 | 1 | 3 | 3 | 6
Enter in new months and dates.
| 2023-11-01 | 2023-12-10
2023-11-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-033G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 033 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04) | EMH
SCHRADER LN MI 184.7 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-11-01 | TO | 2023-11-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 17 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 1.7 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 0.279 | 0.279 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 7 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 1 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-12-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 035G-Drift
Nov | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 035 - DRIFTWOOD
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5
6
7
8
9 |  |  |  |  | 1
10 |  |  |  |  | 1
11
12
13
14
15 | [5 empty] | NO DISCHARGE FOR THIS SITE FOR THIS MONTH
16
17
18
19
20 |  |  |  |  | 1
21 |  |  |  |  | 1
22 |  |  |  |  | 1
23
24
25
26 |  |  |  |  | 1
27
28
29
30
TOTAL | 0 | 0 | 0 | 0 | 6
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1
MAX | 0 | 0 | 0 | 0 | 1
MIN | 0 | 0 | 0 | 0 | 1
COUNT | 0 | 0 | 0 | 0 | 6
Enter in new months and dates.
| 2023-11-01 | 2023-12-10
2023-11-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-035G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 035 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04)
DRIFTWOOD MI 192.0 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ X ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-11-01 | TO | 2023-11-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 0 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 0 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | #DIV/0! | 0 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 6 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 0 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-12-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 047G-Bosc
Nov | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 047 - BOSCOBEL
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5
6
7
8
9 |  |  |  |  | 1
10 |  |  |  |  | 1
11
12
13
14
15
16
17 |  |  |  |  | 1
18
19
20 |  |  | 0.33 | 5
21 | 0.056 | 1 | 1.17 | 8 |  | Rain, Overflow Duration = 1.42 hours
22 |  |  |  |  | 1
23
24
25
26 |  |  |  |  | 1
27
28
29
30 |  |  | 0.12 | 3
TOTAL | 0.056 | 1 | 1.62 | 16 | 5
AVG | 0.056 | 1 | 0.54 | 5.3333 | 1
MAX | 0.056 | 1 | 1.17 | 8 | 1
MIN | 0.056 | 1 | 0.12 | 3 | 1
COUNT | 1 | 1 | 3 | 3 | 5
Enter in new months and dates.
| 2023-11-01 | 2023-12-10
2023-11-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-047G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 047 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04)
BOSCOBEL MI 192.6 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-11-01 | TO | 2023-11-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 16 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 1.62 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 0.056 | 0.056 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 6 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 1 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-12-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1