## 019G-Kerr
Jun | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 019 - KERRIGAN
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1 |  |  |  |  | 1
2
3 | [6 empty] | 2023-06-11 20:49
4 | [6 empty] | 2023-06-11 18:04 | 2:45
5
6
7 | [6 empty] | 2023-06-19 19:59
8 | [6 empty] | 2023-06-19 16:34 | 3:25
9
10
11 | 3.28 | 1 | 0.63 | 3 |  | Rain, Overflow Duration = 2.73 hours | 2023-06-29 18:35
12 | [6 empty] | 2023-06-29 13:33 | 5:03
13
14 |  |  |  |  | 1
15 | [6 empty] | 2023-07-01
16 | [6 empty] | 2023-06-30 21:16 | 2:44
17
18 |  |  |  |  | 1
19 | 13.75 | 1 | 0.69 | 5 |  | Rain, Overflow Duration = 3.42 hours
20 |  |  |  |  | 1
21 |  |  |  |  | 1
22 |  |  |  |  | 1
23
24
25
26
27
28
29 | 7.03 | 1 | 1.05 | 1 |  | Rain, Overflow Duration = 5.03 hours
30 | 12.5 | 1 | 0.59 | 1 |  | Rain, Overflow Duration = 2.73 hours
TOTAL | 36.56 | 4 | 2.96 | 10 | 6
AVG | 9.14 | 1 | 0.74 | 2.5 | 1
MAX | 13.75 | 1 | 1.05 | 5 | 1
MIN | 3.28 | 1 | 0.59 | 1 | 1
COUNT | 4 | 4 | 4 | 4 | 6
Enter in new months and dates.
| 2023-06-01 | 2023-07-10
2023-06-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR 019G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 019 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04) | EJM
KERRIGAN AT MI 190.4 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-06-01 | TO | 2023-06-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 10 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. | [8 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** | hr |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 2.96 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 9.14 | 13.75 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 10 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 4 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-07-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 023G-B&C
Jun | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 023 - BENEDICT & CRUTCHER
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5
6
7
8
9
10
11 | 0.091 | 1 | 0.59 | 4 |  | Rain, Overflow Duration = 0.67 hours
12
13
14
15 | 0.001 | 1 | 0.18 | 2 |  | Rain, Overflow Duration = 0.17 hours
16
17
18 |  |  |  |  | 1
19 | 0.191 | 1 | 0.71 | 4 |  | Rain, Overflow Duration = 0.75 hours
20 |  |  |  |  | 1
21
22
23
24
25
26
27
28
29 | 0.93 | 1 | 1.06 | 2 |  | Rain, Overflow Duration = 0.83 hours
30 | 0.779 | 1 | 0.63 | 2 |  | Rain, Overflow Duration = 0.50 hours
TOTAL | 1.992 | 5 | 3.17 | 14 | 2
AVG | 0.3984 | 1 | 0.634 | 2.8 | 1
MAX | 0.93 | 1 | 1.06 | 4 | 1
MIN | 0.001 | 1 | 0.18 | 2 | 1
COUNT | 5 | 5 | 5 | 5 | 2
Enter in new months and dates.
| 2023-06-01 | 2023-07-10
2023-06-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-023G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 023 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04)
BENEDICT & CRUTCHER 191.6 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-06-01 | TO | 2023-06-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 14 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 3.17 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 0.3984 | 0.93 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 7 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 5 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-07-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 024G-Wash
Jun | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 024 - WASHINGTON DC
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2 | [6 empty] | 2023-06-29 14:24
3 | [6 empty] | 2023-06-29 13:52 | 0:33
4
5 | [6 empty] | 2023-06-29 14:38
6 | [6 empty] | 2023-06-29 14:25 | 0:12
7
8 | [7 empty] | 0:45
9
10
11 |  |  |  |  | 1 |  | 2023-06-30 22:18
12 | [6 empty] | 2023-06-30 21:27 | 0:51
13
14
15
16 |  |  |  |  | 1
17
18 |  |  |  |  | 1
19 |  |  |  |  | 1
20 |  |  |  |  | 1
21
22 |  |  |  |  | 1
23
24
25
26
27
28
29 | 3.91 | 1 | 1.12 | 2 |  | Rain, Overflow Duration = 0.75 hours
30 | 1.88 | 1 | 0.98 | 2 |  | Rain, Overflow Duration = 0.85 hours
TOTAL | 5.79 | 2 | 2.1 | 4 | 6
AVG | 2.895 | 1 | 1.05 | 2 | 1
MAX | 3.91 | 1 | 1.12 | 2 | 1
MIN | 1.88 | 1 | 0.98 | 2 | 1
COUNT | 2 | 2 | 2 | 2 | 6
Enter in new months and dates.
| 2023-06-01 | 2023-07-10
2023-06-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-024G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 024G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04) | EMH
WASHINGTON MI 190.4 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-06-01 | TO | 2023-06-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 4 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 2.1 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 2.895 | 3.91 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 8 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 2 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-07-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 033G-Schrad
Jun | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 033 - SCHRADER LANE
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5
6
7
8
9
10
11 | 0.119 | 1 | 0.63 | 4 |  | Rain, Overflow Duration = 1.00 hours
12
13
14
15
16
17
18 |  |  |  |  | 1
19 | 2.163 | 1 | 0.72 | 4 |  | Rain, Overflow Duration = 0.92 hours
20 | 0.016 | 1 | 0.34 | 8 |  | Rain, Overflow Duration = 0.33 hours
21 |  |  |  |  | 1
22 |  |  |  |  | 1
23
24
25
26
27
28
29 | 2.782 | 1 | 1.12 | 1 |  | Rain, Overflow Duration = 1.00 hours
30 | 0.53 | 1 | 0.4 | 3 |  | Rain, Overflow Duration = 0.67 hours
TOTAL | 5.61 | 5 | 3.21 | 20 | 3
AVG | 1.122 | 1 | 0.642 | 4 | 1
MAX | 2.782 | 1 | 1.12 | 8 | 1
MIN | 0.016 | 1 | 0.34 | 1 | 1
COUNT | 5 | 5 | 5 | 5 | 3
Enter in new months and dates.
| 2023-06-01 | 2023-07-10
2023-06-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-033G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 033 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04) | EMH
SCHRADER LN MI 184.7 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-06-01 | TO | 2023-06-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 20 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 3.21 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 1.122 | 2.782 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 8 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 5 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-07-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 035G-Drift
Jun | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 035 - DRIFTWOOD
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4 |  |  |  |  | 1
5
6
7
8
9
10
11 |  |  |  |  | 1
12
13
14
15 |  |  |  |  | 1 | NO DISCHARGE FOR THIS SITE FOR THIS MONTH
16
17
18 |  |  |  |  | 1
19 |  |  |  |  | 1
20 |  |  |  |  | 1
21 |  |  |  |  | 1
22 |  |  |  |  | 1
23
24
25
26
27
28
29 |  |  |  |  | 1
30 |  |  |  |  | 1
TOTAL | 0 | 0 | 0 | 0 | 10
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1
MAX | 0 | 0 | 0 | 0 | 1
MIN | 0 | 0 | 0 | 0 | 1
COUNT | 0 | 0 | 0 | 0 | 10
Enter in new months and dates.
| 2023-06-01 | 2023-07-10
2023-06-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-035G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 035 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04)
DRIFTWOOD MI 192.0 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ X ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-06-01 | TO | 2023-06-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 0 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 0 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | #DIV/0! | 0 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 10 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 0 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-07-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1

## 047G-Bosc
Jun | 2023
CENTRAL WASTEWATER TREATMENT PLANT
CSO - 047 - BOSCOBEL
|  | Number of | Rainfall | Rain Duration | Number of
| Effluent | Discharges | causing a | causing a | Rain Events
| Flow | from | Discharge | Discharge | Not causing
DATE | MGD | Outfall | Inches | Hours | a Discharge | Reason for Bypassing
1
2
3
4
5
6
7
8
9
10
11 | 0.03 | 1 | 0.69 | 4 |  | Rain, Overflow Duration = 0.33 hours
12
13
14
15
16 |  |  |  |  | 1
17
18 |  |  |  |  | 1
19 |  |  |  |  | 1
20 | 0.082 | 1 | 0.32 | 8 |  | Rain, Overflow Duration = 0.17 hours
21
22 |  |  |  |  | 1
23
24
25
26
27
28
29 | 0.403 | 1 | 1.12 | 2 |  | Rain, Overflow Duration = 0.75 hours
30 | 0.22 | 1 | 0.98 | 2 |  | Rain, Overflow Duration = 0.50 hours
TOTAL | 0.735 | 4 | 3.11 | 16 | 4
AVG | 0.18375 | 1 | 0.7775 | 4 | 1
MAX | 0.403 | 1 | 1.12 | 8 | 1
MIN | 0.03 | 1 | 0.32 | 2 | 1
COUNT | 4 | 4 | 4 | 4 | 4
Enter in new months and dates.
| 2023-06-01 | 2023-07-10
2023-06-30
NO DISCHARGE FOR THIS SITE FOR THIS MONTH

## DMR-047G
PERMITTEE NAME/ADDRESS (Include Facility Name/Location if different) |  |  | NATIONAL POLLULTANT DISCHARGE ELIMINATION SYSTEM (NPDES) | [8 empty] | Form Approved
|  |  | DISCHARGE MONITORING REPORT (DMR) | [8 empty] | OMB NO. 2040-0004
NAME NASHVILLE-CENTRAL STP | [7 empty] | DMR Mailing ZIP CODE: 372082206
ADDRESS 1600 2ND AVENUE NORTH |  |  | TN0020575 |  |  | 047 G |  | MAJOR | $
NASHVILLE TN 372082206 |  |  | PERMIT NUMBER |  |  | DISCHARGE NUMBER |  | (SUBR 04)
BOSCOBEL MI 192.6 CSO
FACILITY NASHVILLE-CENTRAL STP |  |  |  | MONITORING PERIOD |  |  |  | External Outfall
LOCATION 1600 2ND AVENUE NORTH |  |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |  |  |  | NO DISCHARGE [ ]
NASHVILLE TN 372082206 |  |  | FROM | 2023-06-01 | TO | 2023-06-30
ATTN: MR. SCOTT POTTER
|  | QUANTITY OR LOADING |  |  |  | QUALITY OR CONCENTRATION
PARAMETER | [9 empty] | NO. | FREQUENCY | SAMPLE
[10 empty] | EX | OF ANALYSIS | TYPE
|  | VALUE | VALUE | UNITS |  | VALUE | VALUE | VALUE | UNITS
Rainfall duration | SAMPLE
| MEASUREMENT | 16 | ****** |  |  | ****** | ****** | ****** | ****
00135 1 0 | PERMIT | Req. Mon. |  | hr | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Rainfall | SAMPLE
| MEASUREMENT | 3.11 | ****** |  |  | ****** | ****** | ****** | ****
46529 1 0 | PERMIT | Req. Mon. |  | in | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Flow, in conduit | SAMPLE
| MEASUREMENT | 0.18375 | 0.403 |  |  | ****** | ****** | ****** | ****
50050 1 0 | PERMIT | Req. Mon. | Req. Mon. | Mgal/d | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO AVG | DAILY MX |  |  | ****** | ****** | ****** | **** |  | Discharging | CONTIN
Rainfall events | SAMPLE
| MEASUREMENT | 8 | ****** |  |  | ****** | ****** | ****** | ****
51407 1 0 | PERMIT | Req. Mon. |  | occur/mo | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
Discharge event observation | SAMPLE
| MEASUREMENT | 4 | ****** |  |  | ****** | ****** | ****** | ****
84165 1 0 | PERMIT | Req. Mon. |  | Y=1;N=0 | [6 empty] | Daily When
Effluent Gross | REQUIREMENT | MO TOTAL | ****** |  |  | ****** | ****** | ****** | **** |  | Discharging | CALCTD
NAME/TITLE PRINCIPAL EXECUTIVE OFFICER | I certify under penalty of law that this document and all attachments were
| prepared under my direction or supervision in accordance with a system designed | [7 empty] | TELEPHONE |  | DATE
SCOTT A. POTTER | to assure that qualified personnel property gather and evaluate the information
submitted. Based on my inquiry of the person or persons who manage the system,
DIRECTOR | or those persons directly responsible for gathering the information, the information | [7 empty] | 615 862-4591 |  | 2023-07-10
sumbitted is, to the best of my knowledge and belief, true, accurate, and complete.
| I am aware that there are significant penalties for submitting false information, |  |  |  |  | SIGNATURE OF PRINCIPAL EXECUTIVE |  |  | AREA
TYPED OR PRINTED | including the possibility of fine and imprisonment for knowing violations. |  |  |  |  | OFFICER OR AUTHORIZED AGENT |  |  | CODE NUMBER |  | MM/DD/YYYY
COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here)
EPA Form 3320-1 ( Rev. 01/06) Previous editions may be used. | [9 empty] | PAGE | 1